## Sheet1
Item No. | DESCRIPTION | Unit | Qty
ELECTRICAL SYSTEM
1 | Supply, installation,testing and commissioning of new MCC panel (One panel for Incomer + One panel for Cond Pump ASD + One panel for CT ASD) for Cooling Tower #4 (as per single line diagram shown on the drawing), including external panel ventilation fans, all wiring, related civil works, supporting steel frame and all accessories, as per standard and specs,complete in all respects. | Job | 1
15 | Supply & Installation of new 800A TP Adj. MCCB (Ics 100kA) in place of existing 630 A TP MCCB, including all wiring, related busbar link works, supporting frame, insulations and all accessories, complete in all respects. | Job | 1