## Electrical Package
PACKAGE PRICING SHEET
Sr# | DETAILS OF REQUIREMENT | Qty | Checklist | Unit Price (USD/EUR) | Total (USD/EUR) | Frieght By Sea (USD/EUR) | Total (USD/EUR) | Taxes and Duties | Frieght till Project Location In Islamabad (USD/EUR/PKR) | Total (USD/EUR/PKR)
|  |  |  | FOB |  | CNF Karachi |  | Value if Percentage/Figure | DDP/FOR
ELECTRICAL PACKAGE
1 | Diesel Generator (2500KVA) (Specifications and quantities mentioned in BOQ ) [11KV, 1500RPM, IP23, F Class Insulation, with NER/NGR Panel] | 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Diesel Generator (2000KVA) (Specifications and quantities mentioned in BOQ ) [11KV, 1500RPM, IP23, F Class Insulation, with NER/NGR Panel] | 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Diesel Generator (1500KVA) (Specifications and quantities mentioned in BOQ ) [11KV, 1500RPM, IP23, F Class Insulation, with NER/NGR Panel] | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total | 14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Busway System (Specifications and quantities mentioned in BOQ ) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Dry Type Transformer 2500KVA (Specifications and quantities mentioned in BOQ ) | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dry Type Transformer 2000KVA (Specifications and quantities mentioned in BOQ ) | 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dry Type Transformer 1600KVA (Specifications and quantities mentioned in BOQ ) | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option-1 | Type Tested Switchgear
4 | MV Switchgear (Type Tested) (Specifications and quantities mentioned in BOQ ) | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LV Switchgear (Type Tested) (Specifications and quantities mentioned in BOQ ) [MDBS, LSFDBS, ETC….] | 16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LV Switchgear (Non Type tested) (Specifications and quantities mentioned in BOQ ) [FDBS, CADBS, MEDBS…ETC] | 38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option-2 | Non Type Tested Switchgear
5 | MV Switchgear (Non Type Tested) (Specifications and quantities mentioned in BOQ ) | 10
| LV Switchgear (Non-Type Tested) (Specifications and quantities mentioned in BOQ ) [MDBS, LSFDBS, ETC….] | 16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LV Switchgear (Non Type tested) (Specifications and quantities mentioned in BOQ ) [FDBS, CADBS, MEDBS…ETC] | 38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Fire Alarm System (Specifications and quantities mentioned in BOQ ) [LPCB/UL Listed] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Package with Switchgear Option-1 (Type Tested Switchgear) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Package with Switchgear Option-2 (Non Type Tested Switchgear) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Ratings Specifications and actual Quantities of All items are already shared

## Mechanical Package (hidden)
PACKAGE PRICING SHEET
Sr# | DETAILS OF REQUIREMENT | Qty | Checklist | Unit Price (USD/EUR) | Total (USD/EUR) | Frieght By Sea (USD/EUR) | Total (USD/EUR) | Taxes and Duties | Frieght till Project Location In Islamabad (USD/EUR/PKR) | Total (USD/EUR/PKR)
|  |  |  | FOB |  | CNF Karachi |  | Value if Percentage/Figure | DDP/FOR
MECHANICAL PACKAGE
1 | Oil Free Magnetic Chillers (Specifications and quantities mentioned in BOQ ) | 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Cooling Towers (Specifications and quantities mentioned in BOQ ) | 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Air Handling Units (Specifications and quantities mentioned in BOQ ) | 19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fan Coil Units (Specifications and quantities mentioned in BOQ ) | 69 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Elevators (Specifications and quantities mentioned in BOQ ) | 31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Escalators (Specifications and quantities mentioned in BOQ ) | 26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Basement Ventilation Fans (Specifications and quantities mentioned in BOQ ) | 77 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Fire & Chiller Pumps (Specifications and quantities mentioned in BOQ ) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Package |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Ratings Specifications and actual Quantities of All items are already shared