## LPCB-UL
J7 EMPORIUM
ENGINEERING DIVISION
FIRE ALARM & AUDIO INTERCOM SYSTEM (B3 to 2nd Floor)
DETAILS OF REQUIREMENT |  |  |  | Vendor Name:
Brand & Orign:
Sr. No | Item Description | Unit | Req: Qty | Supply Rate | Supply Amount | Installation Rate | Installation Amount | Remarks
1 | Addressable Fire Alarm Control Panel (FACP) including 24V VDC Battery Backup (60 Minutes Battery Backup) (10 Loops) | Nos. | 1 |  | 0 |  | 0
2 | Fire Alarm Repeater Panel (FARP) including 24V VDC Battery Backup (60 Minutes Battery Backup) | Nos | 1 |  | 0 |  | 0
3 | Addressable Sub Alarm Panel (SAP) (5 Loops) including 24V VDC Battery Backup (60 Minutes Battery Backup) | Nos | 2 |  | 0 |  | 0
4 | Control Module | Nos | 82 |  | 0 |  | 0
5 | Monitor Module | Nos | 27 |  | 0 |  | 0
6 | Isolator Module | Nos | 14 |  | 0 |  | 0
7 | Optical Smoke Detector with LED Indicator including Detector Base | Nos | 226 |  | 0 |  | 0
8 | Optical Smoke Detector (ceiling) with LED Remote Indicator including Detector Base | Nos | 230 |  | 0 |  | 0
9 | Manual Call Points (Pull Type) with Irony Case | Nos | 42 |  | 0 |  | 0
10 | Beam Smoke Detector with Detector Base | Nos | 2 |  | 0 |  | 0
11 | Strobe Light with Sounder unit including Base | Nos | 46 |  | 0 |  | 0
12 | Heat Detector with LED Indicator including Detector Base (Fixed Type) | Nos | 406 |  | 0 |  | 0
13 | Illuminated Exit Signs with (2 Hours) Battery Backup | Nos | 179 |  | 0 |  | 0
14 | Fireman Phone | Nos | 10 |  | 0 |  | 0
15 | Fireman Phone Jack | Nos | 28 |  | 0 |  | 0
15.A | Fire Telephone Panel or Emergency Voice Evacuation Panel) | Nos | 1 |  | 0 |  | 0
16 | Signalling Line Circuit (SLC) 2C x 1.5mm2 Cu/PVC Fire Resistance Type (2 Hours) LSZH comply to (BS-6004, IEC 331, BS 4066) | Mtrs. | 17924 |  | 0 |  | 0
17 | Network Cable 2C x 2.5mm2 Cu/PVC Fire Resistance Type (2 Hours) LSZH comply to (BS-6004, IEC 331, BS 4066) | Mtrs. | 457 |  | 0 |  | 0
18 | Testing/ Commissioning | Job. | 1 |  | 0 |  | 0
| TOTAL AMOUNT FOR SUPPLY & INSTALLATION RESPECTIVELLY (EXCLUSIVE OF 17% GST & 16%SST) |  |  | 0 |  | 0
| (17% GST & 16% SST respectivelly) |  |  | 0 |  | 0
| TOTAL AMOUNT (Inclusive of 17% GST & 16% SST respectivelly) |  |  | 0 |  | 0
| TOTAL AMOUNT (SUPPLY & INSTALLATION (Inclusive of 17% GST & 16% SST) |  |  | 0

## Sheet1 (hidden)
Vendors | Emerging Horizons |  | CXOR Engineering |  | Emerging Horizons
| Option-I |  |  |  | Option-II
| Supply | Installation | Supply | Installation
Total Amount For Supply & Installation Respectivelly (Exclusive Taxes) | 21937775 | 3507916 | 22593380 | 600000 | 14966718 | 3355251
GST 17% on Supplies & SST 16% on Services | 3729421.75 | 561266.56 | 3840874.6 | 96000 | 2544342.06 | 536840.16
Total Amount (Inclusive of 17% GST & 16% SST Respectivelly) | 25667196.75 | 4069182.56 | 26434254.6 | 696000 | 17511060.06 | 3892091.16
Grand Total (Supply & Servies) | 29736379.31 |  | 27130254.6 |  | 21403151.22